## Interface
Menu
0
| Input | [12 empty] | 1
| Number | Description |  |  |  | Version 1.3 |  |  | 2007-07-20 |  |  |  |  | 2
3
Tubing |  |  | Enter number of feet of tubing, add 4 for elbows, 1 for T-line fittings, 7? reservoir | [10 empty] | 4
| 0 | Feet of 3/8" ID tubing | [8 empty] | Add 4' per elbow, 1' for T-Fitting |  |  | 5
6
| 6 | Feet of 7/16" ID tubing | [8 empty] | Add 4' per elbow, 1' for T-Fitting |  |  | 7
8
| 1 | Feet of 1/2" ID tubing | [8 empty] | Add 4' per elbow, 1' for T-Fitting |  |  | 9
10
Water Blocks / Radiators |  |  |  | Enter the Number of Blocks | [9 empty] | 11
| 0 | D-tek Fuzion w/o Nozzle | [11 empty] | 12
13
| 1 | Aqua Extreme MP-05 Nozzle 3 | [11 empty] | 14
15
| 0 | Swiftech Storm | [11 empty] | 16
17
| 0 | Danger Den RBX-1 | [11 empty] | 18
19
| 0 | Swiftech Apogee | [11 empty] | 20
| 0 | Swiftech Apogee GT
| 0 | Swiftech Apogee GTX
| 0 | Swiftech MCW-60
| 0 | EK-FC8800
| 0 | Swiftech Stealth Rev 2
1
| 0 | D-tek Fuzion GFX (GPU Block)
| 0 | Swiftech MCW-30
| 0 | HW Labs Black Ice GTS 240
| 0 | HW Labs BIX 120 or 240
| 0 | HW Labs BIX 360
| 0 | Thermochill PA 160
| 0 | Thermochill PA 120.2
| 0 | Thermochill PA 120.3
| 0 | Swiftech MCR-120 QP
| 0 | Swiftech MCR-220 QP
| 0 | Swiftech MCR-320 QP
Total System Pressure Drop Formula
Y= | x^5 | + | X^4 | + | X^3 | + | x^2 | + | x | + | Constant
| 0 |  | 0 |  | 0.049817 |  | 1.5139 |  | 0.82924 |  | -0.0021375
Pumps | Enter 1 for one pump, Enter 2 in same box only for same pump in series.
| 0 | D-tek db-1
| 0 | Sicce Nova 800 (Italian Pump)
| 0 | AquaExtreme 50Z
| 0 | Laing DDC-2(Stock)
| 0 | Laing DDC-2 (w/DDCT-01s top)
| 1 | Laing DDC 3.1 - 9W (stock) 9 (MCP350)
| 0 | Laing DDC-3.2 -18W (stock) (MCP355)
| 0 | Laing DDC-3.2 (w/DDCT-01s top)
| 0 | Laing D5-38 Vario 810, Setting 5 (MCP655)
| 0 | Laing D5-38 Vario 810 (Martin's Port Mod)
1
Total Pumping Pressure Formula | [11 empty] | Estimated Flow Rate
Y= | x^5 | + | X^4 | + | X^3 | + | x^2 | + | x | + | Constant | 1.04 | GPM
| 0 |  | 0 |  | 0.3412 |  | -2.5306 |  | 0.2065 |  | 4.741
Martin's Flow Rate Estimator

## PumpPQ
Pump Description | Interface | PSI vs GPM formula | [6 empty] | Formula | Source | Result from Interface Input
| Input | x^5 | X^4 | X^3 | x^2 | X | Constant |  |  |  | x^5 | X^4 | X^3 | x^2 | X | Constant
D-tek db-1 | 0 |  |  |  | -0.389 | -0.5647 | 2.5 |  | PQ: y = -0.389x^2 - 0.5647x + 2.5 | Alex from Petra's | 0 | 0 | 0 | 0 | 0 | 0
Sicce Nova 800 | 0 |  |  | 0.001 | -0.0837 | -0.3719 | 2.2714 |  | PQ: y = .001x3-0.0837x2-0.3719x+2.2714 | Used Line above 5 from this graph | 0 | 0 | 0 | 0 | 0 | 0
Laing DDC-2(Stock) | 0 |  |  |  | -1.2597 | -1.0557 | 8.7 |  | PQ: y = -1.2597x^2 - 1.0557x + 8.7 | Alex from Petra's | 0 | 0 | 0 | 0 | 0 | 0
Laing DDC-2 (w/DDCT-01s top) | 0 |  |  |  | -0.135 | -1.4419 | 8.2 |  | PQ: y = -0.135x^2 - 1.4419x + 8.2 | Alex from Petra's | 0 | 0 | 0 | 0 | 0 | 0
AquaExtreme 50Z | 0 |  |  | 0.0267 | -0.3543 | -0.3062 | 4.5367 |  | PQ: y = 0.0267x3 - 0.3543x2 - 0.3062x + 4.5367 | www.cooltechnica.com review | 0 | 0 | 0 | 0 | 0 | 0
Laing DDC-3.1 (stock) | 1 |  |  | 0.3412 | -2.5306 | 0.2065 | 4.741 |  | PQ: y = 0.3412x3 - 2.5306x2 + 0.2065x + 4.741 | Swiftech Chart | 0 | 0 | 0.3412 | -2.5306 | 0.2065 | 4.741
Laing DDC-3.2 (stock) | 0 |  |  |  | -1.1441 | -0.2168 | 6 |  | PQ: y = -1.1441x^2 - 0.2168x + 6 | Alex from Petra's | 0 | 0 | 0 | 0 | 0 | 0
Laing DDC-3.2 (w/DDCT-01s top) | 0 |  |  |  | -0.2998 | -0.0796 | 5.6 |  | PQ: y = -0.2998x^2 - 0.0796x + 5.6 | Alex from Petra's | 0 | 0 | 0 | 0 | 0 | 0
Laing D5-38 Vario 810 | 0 |  | 0.0135 | -0.1566 | 0.5494 | -1.8186 | 6.3608 |  | PQ: y = 0.0135x4 - 0.1566x3 + 0.5494x2 - 1.8186x + 6.3608 | Martin, derived from Laing D5 Vario 810, setting 5 graph. | 0 | 0 | 0 | 0 | 0 | 0
Laing D5-38 Vario 810 (Martin's Port Mod) | 0 |  | 0.0093 | -0.1372 | 0.5891 | -1.5076 | 5.8448 |  | PQ: y = 0.0093x4 - 0.1372x3 + 0.5891x2 - 1.5076x + 5.8448 | Martin Tested 7-7-07 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | Pumping System Total = | 0 | 0 | 0.3412 | -2.5306 | 0.2065 | 4.741
Flow | Pressure
GPM | PSI
| D-tek db-1 | Laing DDC-2(Stock) | Laing DDC-2 (w/DDCT-01s top) | Laing DDC-3.2 (stock) | Laing DDC-3.2 (w/DDCT-01s top) | Laing D5-38 Vario 810 | Laing D5-38 Vario 810 (Martin's Port Mod) | Laing DDC-3.1 (stock) | AquaExtreme 50Z | Sicce Nova 800
0 | 2.5 | 8.7 | 8.2 | 6 | 5.6 | 6.3608 | 5.8448 | 4.741 | 4.5367 | 2.2714
0.25 | 2.3345 | 8.3573 | 7.8311 | 5.8743 | 5.5614 | 5.9381 | 5.5026 | 4.6398 | 4.4384 | 2.1732
0.5 | 2.1204 | 7.8572 | 7.4453 | 5.6056 | 5.4852 | 5.5701 | 5.2217 | 4.2542 | 4.2984 | 2.0646
0.75 | 1.8577 | 7.1996 | 7.0426 | 5.1938 | 5.3717 | 5.2441 | 4.9905 | 3.6164 | 4.119 | 1.9458
1 | 1.5463 | 6.3846 | 6.6231 | 4.6391 | 5.2206 | 4.9485 | 4.7984 | 2.7581 | 3.9029 | 1.8168
1.25 | 1.1863 | 5.4121 | 6.1867 | 3.9413 | 5.0321 | 4.6731 | 4.6355 | 1.7115 | 3.6525 | 1.6777
1.5 | 0.7777 | 4.2821 | 5.7334 | 3.1006 | 4.806 | 4.4089 | 4.4929 | 0.50845 | 3.3703 | 1.5286
1.75 | 0.32046 | 2.9947 | 5.2632 | 2.1168 | 4.5426 | 4.1481 | 4.3625 | -0.81897 | 3.0589 | 1.3696
2 | -0.1854 | 1.5498 | 4.7762 | 0.99 | 4.2416 | 3.8844 | 4.2372 |  | 2.7207 | 1.2008
2.25 |  | -0.052556 | 4.2723 | -0.27981 | 3.9032 | 3.6125 | 4.1106 |  | 2.3582 | 1.0223
2.5 |  |  | 3.7515 |  | 3.5272 | 3.3285 | 3.9772 |  | 1.974 | 0.83415
2.75 |  |  | 3.2138 |  | 3.1139 | 3.0298 | 3.8325 |  | 1.5705 | 0.63649
3 |  |  | 2.6593 |  | 2.663 | 2.7149 | 3.6728 |  | 1.1503 | 0.4294
3.25 |  |  | 2.0879 |  | 2.1747 | 2.3837 | 3.4952 |  | 0.71582 | 0.21297
3.5 |  |  | 1.4996 |  | 1.6488 | 2.0375 | 3.2978 |  | 0.26959 | -0.0127
3.75 |  |  | 0.89444 |  | 1.0856 | 1.6785 | 3.0795 |  | -0.18589
4 |  |  | 0.2724 |  | 0.4848 | 1.3104 | 2.84
4.191 |  |  | -0.21421 |  | 0.000565 | 1.0261 | 2.6432
4.25 |  |  |  |  | -0.15344 | 0.93822 | 2.58
4.5 | [5 empty] | 0.56812 | 2.3011
4.75 | [5 empty] | 0.20757 | 2.0056
5 | [5 empty] | -0.1347 | 1.6968
5.25 | [6 empty] | 1.3788
5.5 | [6 empty] | 1.0567
5.75 | [6 empty] | 0.73631
6 | [6 empty] | 0.4244
6.25 | [6 empty] | 0.1286
6.5 | [6 empty] | -0.14259
Most Common System Flow Rates

## ComponentsPQ
This Chart is for comparing pressure drop on the included components. You can turn on and off components for better clarity by selecting 1 for On and 0 for Off.
Display
Select 0 to turn OFF, Select 1 for ON.
0
0
0
0
0
0
0
1
1
1
1
1
0
0
0
0
0
0
0
0
0
0
0
0
The secion below captures each component, and breaks out the curves. The section on the right then muliplys these out depending on the user interface input. Curve source included.
Pump Description | Interface | PSI vs GPM poly | [6 empty] | Poly from Excel | Source | Result from Interface Input
| Input | x^5 | X^4 | X^3 | x^2 | X | Constant |  |  |  | x^5 | X^4 | X^3 | x^2 | X | Constant
D-tek Fuzion | 0 |  |  | -0.1195 | 0.9648 | -0.0466 | 0.004 |  | PQ: y = -0.1195x3 + 0.9648x2 - 0.0466x + 0.004 | Martin's tested values, | 0 | 0 | 0 | 0 | 0 | 0
Checked with published, off a fair amount. Test gave more restrictive results
Aqua Extreme MP-05 Nozzle 3 | 1 |  |  | 0.0573 | 1.32 | 0.751 | 0.0014 |  | PQ: y = .0573X3 +1.32X2+.751x+.0014 | systemcooling.com | 0 | 0 | 0.0573 | 1.32 | 0.751 | 0.0014
Swiftech Storm | 0 |  |  | 0.18 | 0.4914 | 0.8221 | 0.0027 |  | PQ: y = .18x3 + .4914x2 + .8221x + .0027 | systemcooling.com | 0 | 0 | 0 | 0 | 0 | 0
Danger Den RBX-1 | 0 |  |  | 0.1294 | 0.0238 | 0.4376 | 0.0049 |  | PQ: y = .1294x3 + .0238x2 + .4376x + .0049 | systemcooling.com | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Apogee | 0 |  |  | -0.0102 | 0.6174 | 0.0312 | 0.0042 |  | PQ: y = -0.0102x3 + 0.6174x2 + 0.0312x + 0.0042 | Swiftechs Site | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Apogee GT | 0 |  |  | -0.0315 | 0.8252 | -0.0548 | 0.0118 |  | PQ: = y = -0.0315x3 + 0.8252x2 - 0.0548x + 0.0118 | From swiftnets.com no testing verification. | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Apogee GTX | 0 |  |  | -0.0034 | 0.7645 | 0.1943 | -0.0051 |  | PQ: y = -0.0034x3 + 0.7645x2 + 0.1943x - 0.0051 | From swiftnets.com no testing verification. | 0 | 0 | 0 | 0 | 0 | 0
EK FC-8800 | 0 |  |  | -0.0222 | 0.9862 | 0.0925 | -0.0031 |  | PQ: y = -0.0222x3 + 0.9862x2 + 0.0925x - 0.0031 | From Swiftech's Board Here | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCW-60 | 0 |  | -0.0042 | 0.0227 | 0.2542 | 0.0393 | 0.003 |  | PQ: y = -0.0042x4 + 0.0227x3 + 0.2542x2 + 0.0393x + 0.003 | Swiftech's Site, brought into Excel, ploy extracted, check good with test. | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Stealth Rev2 | 0 |  |  | -0.0242 | 0.726 | -0.0152 | 0.0127 |  | PQ: y = -0.0242x3 + 0.726x2 - 0.0152x + 0.0127 | From Swiftech's Board Here | 0 | 0 | 0 | 0 | 0 | 0
D-tek Fuzion GFX (GPU Block) | 0 |  |  | 0.0839 | 1.3991 | 0.3196 | -0.0228 |  | PQ: y = 0.0839x3 + 1.3991x2 + 0.3196x - 0.0228 | For D-tek's Site | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCW-30 | 0 |  |  | -0.0007 | 0.1966 | -0.0104 | -0.008 |  | PQ: y = -0.0007x3 + 0.1996x2 - 0.0104x - 0.0008 | Martin's tested curve | 0 | 0 | 0 | 0 | 0 | 0
Checked with published, actually less restrictive than pub.
10' 3/8" ID Tubing Darcy | 0 |  |  | -0.0198 | 0.4594 | 0.1671 | -0.0055 |  | PQ 10': y = -0.0198x3 + 0.4594x2 + 0.1671x - 0.0055 | Darcy based | 0 | 0 | 0 | 0 | 0 | 0
10' 7/16" Tubing Darcy | 6 |  |  | -0.0084 | 0.2153 | 0.0863 | -0.0044 |  | PQ 10': y = -0.0084x3 + 0.2153x2 + 0.0863x - 0.0044 | Darcy's based with modified Interface divider to match real world test | 0 | 0 | -0.0066316 | 0.16997 | 0.068132 | -0.0034737
10' 1/2" Tubing Darcy | 1 |  |  | -0.004 | 0.1124 | 0.0475 | -0.0003 |  | PQ 10': y = -0.004x3 + 0.1124x2 + 0.0475x - 0.0003 | Darcy's based with modified Interface divider to match real world test | 0 | 0 | -0.00085106 | 0.023915 | 0.010106 | -6.383e-05
BI GTS240 | 0 |  |  | 0.1515 | -0.0355 | 0.7505 | 0.0032 |  | PQ: y = 0.1515x3 - 0.0355x2 + 0.7505x + 0.0032 | http://thermal-management-testing.com/coolingworks.htm | 0 | 0 | 0 | 0 | 0 | 0
HW Labs BIX 120 or 240 | 0 |  |  | 0.0005 | 0.1232 | 0.0567 | 0.0009 |  | PQ: y = 0.0005x3 + 0.1232x2 + 0.0567x + 0.0009 | http://thermal-management-testing.com/coolingworks.htm | 0 | 0 | 0 | 0 | 0 | 0
HW Labs BIX 360 | 0 |  |  | 0.01 | 0.1025 | 0.1194 | -0.0005 |  | PQ: y = 0.01x3 + 0.1025x2 + 0.1194x - 0.0005 | http://thermal-management-testing.com/coolingworks.htm | 0 | 0 | 0 | 0 | 0 | 0
Thermochill PA160 | 0 |  |  | 0.0073 | 0.0249 | 0.0625 | 0.003 |  | PQ: y = 0.0073x3 + 0.0249x2 + 0.0625x + 0.0003 | http://www.thermochill.com/PATesting/index.php#PA1202 | 0 | 0 | 0 | 0 | 0 | 0
Thermochill PA 120.2 | 0 |  |  | 0.0107 | 0.0226 | 0.0832 | 0.003 |  | PQ: y = 0.0107x3 + 0.0226x2 + 0.0832x + 0.0003 | http://www.thermochill.com/PATesting/index.php#PA1202 | 0 | 0 | 0 | 0 | 0 | 0
Thermochill PA 120.3 | 0 |  |  | 0.0093 | 0.0317 | 0.0992 | 0.0005 |  | PQ: y = 0.0093x3 + 0.0317x2 + 0.0992x + 0.0005 | http://www.thermochill.com/PATesting/index.php#PA1202 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCR-120 QP | 0 |  |  | -0.0379 | 0.5895 | -0.0938 | 0.0134 |  | PQ: y = -0.0379x3 + 0.5895x2 - 0.0938x + 0.0134 | Swiftech's Site | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCR-220 QP | 0 |  |  | 0.0054 | 0.1881 | 0.104 | 0.0052 |  | PQ: y = 0.0054x3 + 0.1881x2 + 0.104x + 0.0052 | Swiftech's Site | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCR-320 | 0 |  |  | 0.0117 | 0.1196 | 0.1927 | -0.0003 |  | PQ: y = 0.0117x3 + 0.1196x2 + 0.1927x - 0.0003 | Martin's tested curve, very very close to swiftechs published curve. | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | Components Pressure Drop System Total = | 0 | 0 | 0.049817 | 1.5139 | 0.82924 | -0.0021375
The section below is used for plotting the graphs at the top of the sheet.
Component |  | Flow Rate
|  | 0 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.6 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 0
D-tek Fuzion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Aqua Extreme MP-05 Nozzle 3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Storm |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Danger Den RBX-1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Apogee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Apogee GT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech Apogee GTX |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EK FC-8800 |  | -0.0031 | 0.01599 | 0.05467 | 0.11281 | 0.19027 | 0.28692 | 0.40264 | 0.53727 | 0.6907 | 0.86279 | 1.0534 | 1.2624 | 1.4897 | 1.7351 | 1.9984 | 2.2797 | 2.5786 | 2.8952 | 3.2292 | 3.5806 | 3.9491 | 4.3347 | 4.7372 | 5.1565 | 5.5925 | 6.045 | 6.5139 | 6.9991 | 7.5004 | 8.0177 | 8.5508 | 9.0997 | 9.6641 | 10.2441 | 10.8393 | 11.4498 | 12.0753 | 12.7157 | 13.371 | 14.0409 | 14.7253
Swiftech MCW-60 |  | 0.003 | 0.0094943 | 0.021203 | 0.038247 | 0.060737 | 0.088775 | 0.12245 | 0.16185 | 0.20703 | 0.25806 | 0.315 | 0.37788 | 0.44672 | 0.52156 | 0.60241 | 0.68925 | 0.78209 | 0.88089 | 0.98564 | 1.0963 | 1.2128 | 1.3351 | 1.4631 | 1.5968 | 1.736 | 1.8806 | 2.0306 | 2.1858 | 2.3461 | 2.5114 | 2.6814 | 2.8561 | 3.0352 | 3.2186 | 3.4061 | 3.5975 | 3.7926 | 3.9911 | 4.1928 | 4.3975 | 4.605
Swiftech Stealth Rev2 |  | 0.0127 | 0.018416 | 0.038506 | 0.072827 | 0.12123 | 0.18357 | 0.25971 | 0.3495 | 0.45279 | 0.56944 | 0.6993 | 0.84223 | 0.99808 | 1.1667 | 1.348 | 1.5417 | 1.7478 | 1.9661 | 2.1964 | 2.4387 | 2.6927 | 2.9583 | 3.2354 | 3.5238 | 3.8234 | 4.1341 | 4.4556 | 4.7879 | 5.1307 | 5.4841 | 5.8477 | 6.2215 | 6.6053 | 6.999 | 7.4024 | 7.8154 | 8.2379 | 8.6696 | 9.1105 | 9.5604 | 10.0191
D-tek Fuzion GFX (GPU Block) |  | -0.0228 | 0.023235 | 0.097755 | 0.20126 | 0.33427 | 0.49726 | 0.69076 | 0.91526 | 1.1713 | 1.4593 | 1.7798 | 2.1333 | 2.5204 | 2.9415 | 3.3971 | 3.8877 | 4.4139 | 4.9761 | 5.5749 | 6.2107 | 6.884 | 7.5954 | 8.3453 | 9.1343 | 9.9629 | 10.8315 | 11.7407 | 12.691 | 13.6828 | 14.7167 | 15.7932 | 16.9128 | 18.0759 | 19.2832 | 20.535 | 21.832 | 23.1745 | 24.5632 | 25.9984 | 27.4808 | 29.0108
Swiftech MCW-30 |  | -0.008 | -0.0070747 | -0.0022216 | 0.0065551 | 0.019251 | 0.035862 | 0.056385 | 0.080814 | 0.10915 | 0.14138 | 0.1775 | 0.21751 | 0.26141 | 0.3092 | 0.36086 | 0.41639 | 0.47579 | 0.53905 | 0.60618 | 0.67716 | 0.752 | 0.83068 | 0.91321 | 0.99958 | 1.0898 | 1.1838 | 1.2817 | 1.3834 | 1.4889 | 1.5982 | 1.7113 | 1.8282 | 1.949 | 2.0735 | 2.2018 | 2.3339 | 2.4698 | 2.6095 | 2.753 | 2.9002 | 3.0512
10' 3/8" ID Tubing Darcy |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10' 7/16" Tubing Darcy |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10' 1/2" Tubing Darcy |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BI GTS240 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HW Labs BIX 120 or 240 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HW Labs BIX 360 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermochill PA160 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermochill PA 120.2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermochill PA 120.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCR-120 QP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCR-220 QP |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Swiftech MCR-320 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CPU
GPU
Chipset
Tubing
Radiators

## CurveData
For Plotting Curves from Formulas and selecting intercept.
Intercept Extraction |  | Delta |  | Pump | System | Vertical | Vertical
Check | First IF | Pressure | Flow | Pressure | Pressure | Bar | Bar
No Double |  | PSI | GPM | PSI | PSI | GPM | PSI
0 | 0 | 4.7431 | 0 | 4.741 | -0.0021375 | 1.04 | 0
0 | 0 | 4.7365 | 0.01 | 4.7428 | 0.0063063 | 1.04 | 30
0 | 0 | 4.7291 | 0.02 | 4.7441 | 0.015053
0 | 0 | 4.7208 | 0.03 | 4.7449 | 0.024103
0 | 0 | 4.7118 | 0.04 | 4.7452 | 0.033457
0 | 0 | 4.7019 | 0.05 | 4.745 | 0.043115
0 | 0 | 4.6913 | 0.06 | 4.7444 | 0.053078
0 | 0 | 4.6798 | 0.07 | 4.7432 | 0.063344
0 | 0 | 4.6676 | 0.08 | 4.7415 | 0.073916
0 | 0 | 4.6545 | 0.09 | 4.7393 | 0.084793
0 | 0 | 4.6407 | 0.1 | 4.7367 | 0.095975
0 | 0 | 4.6261 | 0.11 | 4.7335 | 0.10746
0 | 0 | 4.6107 | 0.12 | 4.7299 | 0.11926
0 | 0 | 4.5945 | 0.13 | 4.7258 | 0.13136
0 | 0 | 4.5775 | 0.14 | 4.7212 | 0.14376
0 | 0 | 4.5597 | 0.15 | 4.7162 | 0.15648
0 | 0 | 4.5412 | 0.16 | 4.7107 | 0.1695
0 | 0 | 4.5218 | 0.17 | 4.7046 | 0.18283
0 | 0 | 4.5017 | 0.18 | 4.6982 | 0.19647
0 | 0 | 4.4808 | 0.19 | 4.6912 | 0.21041
0 | 0 | 4.4591 | 0.2 | 4.6838 | 0.22466
0 | 0 | 4.4367 | 0.21 | 4.6759 | 0.23923
0 | 0 | 4.4135 | 0.22 | 4.6676 | 0.2541
0 | 0 | 4.3895 | 0.23 | 4.6588 | 0.26928
0 | 0 | 4.3647 | 0.24 | 4.6495 | 0.28477
0 | 0 | 4.3392 | 0.25 | 4.6398 | 0.30057
0 | 0 | 4.3129 | 0.26 | 4.6296 | 0.31668
0 | 0 | 4.2859 | 0.27 | 4.619 | 0.3331
0 | 0 | 4.2581 | 0.28 | 4.6079 | 0.34983
0 | 0 | 4.2295 | 0.29 | 4.5964 | 0.36687
0 | 0 | 4.2002 | 0.3 | 4.5844 | 0.38423
0 | 0 | 4.1701 | 0.31 | 4.572 | 0.4019
0 | 0 | 4.1393 | 0.32 | 4.5591 | 0.41987
0 | 0 | 4.1077 | 0.33 | 4.5458 | 0.43816
0 | 0 | 4.0753 | 0.34 | 4.5321 | 0.45677
0 | 0 | 4.0422 | 0.35 | 4.5179 | 0.47568
0 | 0 | 4.0084 | 0.36 | 4.5033 | 0.49491
0 | 0 | 3.9738 | 0.37 | 4.4882 | 0.51446
0 | 0 | 3.9385 | 0.38 | 4.4728 | 0.53431
0 | 0 | 3.9024 | 0.39 | 4.4569 | 0.55448
0 | 0 | 3.8656 | 0.4 | 4.4405 | 0.57497
0 | 0 | 3.828 | 0.41 | 4.4238 | 0.59577
0 | 0 | 3.7897 | 0.42 | 4.4066 | 0.61688
0 | 0 | 3.7507 | 0.43 | 4.389 | 0.63831
0 | 0 | 3.7109 | 0.44 | 4.371 | 0.66006
0 | 0 | 3.6704 | 0.45 | 4.3526 | 0.68212
0 | 0 | 3.6292 | 0.46 | 4.3337 | 0.7045
0 | 0 | 3.5873 | 0.47 | 4.3145 | 0.72719
0 | 0 | 3.5446 | 0.48 | 4.2948 | 0.75021
0 | 0 | 3.5012 | 0.49 | 4.2747 | 0.77353
0 | 0 | 3.4571 | 0.5 | 4.2542 | 0.79718
0 | 0 | 3.4122 | 0.51 | 4.2334 | 0.82114
0 | 0 | 3.3667 | 0.52 | 4.2121 | 0.84543
0 | 0 | 3.3204 | 0.53 | 4.1904 | 0.87003
0 | 0 | 3.2734 | 0.54 | 4.1683 | 0.89495
0 | 0 | 3.2257 | 0.55 | 4.1458 | 0.92018
0 | 0 | 3.1772 | 0.56 | 4.123 | 0.94574
0 | 0 | 3.1281 | 0.57 | 4.0997 | 0.97162
0 | 0 | 3.0782 | 0.58 | 4.076 | 0.99781
0 | 0 | 3.0277 | 0.59 | 4.052 | 1.0243
0 | 0 | 2.9764 | 0.6 | 4.0276 | 1.0512
0 | 0 | 2.9245 | 0.61 | 4.0028 | 1.0783
0 | 0 | 2.8718 | 0.62 | 3.9776 | 1.1058
0 | 0 | 2.8184 | 0.63 | 3.952 | 1.1336
0 | 0 | 2.7643 | 0.64 | 3.9261 | 1.1617
0 | 0 | 2.7096 | 0.65 | 3.8997 | 1.1902
0 | 0 | 2.6541 | 0.66 | 3.8731 | 1.2189
0 | 0 | 2.598 | 0.67 | 3.846 | 1.248
0 | 0 | 2.5411 | 0.68 | 3.8186 | 1.2774
0 | 0 | 2.4836 | 0.69 | 3.7908 | 1.3072
0 | 0 | 2.4254 | 0.7 | 3.7626 | 1.3372
0 | 0 | 2.3665 | 0.71 | 3.7341 | 1.3676
0 | 0 | 2.3069 | 0.72 | 3.7052 | 1.3983
0 | 0 | 2.2466 | 0.73 | 3.6759 | 1.4293
0 | 0 | 2.1856 | 0.74 | 3.6463 | 1.4607
0 | 0 | 2.124 | 0.75 | 3.6164 | 1.4924
0 | 0 | 2.0617 | 0.76 | 3.586 | 1.5244
0 | 0 | 1.9987 | 0.77 | 3.5554 | 1.5567
0 | 0 | 1.935 | 0.78 | 3.5244 | 1.5894
0 | 0 | 1.8707 | 0.79 | 3.493 | 1.6223
0 | 0 | 1.8057 | 0.8 | 3.4613 | 1.6556
0 | 0 | 1.74 | 0.81 | 3.4293 | 1.6893
0 | 0 | 1.6736 | 0.82 | 3.3969 | 1.7232
0 | 0 | 1.6066 | 0.83 | 3.3642 | 1.7575
0 | 0 | 1.539 | 0.84 | 3.3311 | 1.7921
0 | 0 | 1.4706 | 0.85 | 3.2977 | 1.8271
0 | 0 | 1.4016 | 0.86 | 3.264 | 1.8624
0 | 0 | 1.332 | 0.87 | 3.2299 | 1.898
0 | 0 | 1.2616 | 0.88 | 3.1955 | 1.9339
0 | 0 | 1.1907 | 0.89 | 3.1608 | 1.9702
0 | 0 | 1.1191 | 0.9 | 3.1258 | 2.0067
0 | 0 | 1.0468 | 0.91 | 3.0904 | 2.0437
0 | 0 | 0.97386 | 0.92 | 3.0548 | 2.0809
0 | 0 | 0.90029 | 0.93 | 3.0188 | 2.1185
0 | 0 | 0.82607 | 0.94 | 2.9825 | 2.1564
0 | 0 | 0.75121 | 0.95 | 2.9458 | 2.1946
0 | 0 | 0.67571 | 0.96 | 2.9089 | 2.2332
0 | 0 | 0.59956 | 0.97 | 2.8717 | 2.2721
0 | 0 | 0.52277 | 0.98 | 2.8341 | 2.3113
0 | 0 | 0.44535 | 0.99 | 2.7963 | 2.3509
0 | 0 | 0.36729 | 1 | 2.7581 | 2.3908
0 | 0 | 0.2886 | 1.01 | 2.7196 | 2.431
0 | 0 | 0.20928 | 1.02 | 2.6809 | 2.4716
0 | 0 | 0.12932 | 1.03 | 2.6418 | 2.5125
1.04 | 1.04 | 0.048737 | 1.04 | 2.6025 | 2.5537
0 | 1.05 | -0.032474 | 1.05 | 2.5628 | 2.5953
0 | 1.06 | -0.11431 | 1.06 | 2.5229 | 2.6372
0 | 1.07 | -0.19677 | 1.07 | 2.4827 | 2.6794
0 | 1.08 | -0.27985 | 1.08 | 2.4421 | 2.722
0 | 1.09 | -0.36355 | 1.09 | 2.4013 | 2.7649
0 | 1.1 | -0.44788 | 1.1 | 2.3603 | 2.8081
0 | 1.11 | -0.53281 | 1.11 | 2.3189 | 2.8517
0 | 1.12 | -0.61836 | 1.12 | 2.2773 | 2.8956
0 | 1.13 | -0.70453 | 1.13 | 2.2353 | 2.9399
0 | 1.14 | -0.7913 | 1.14 | 2.1931 | 2.9844
0 | 1.15 | -0.87869 | 1.15 | 2.1507 | 3.0294
0 | 1.16 | -0.96668 | 1.16 | 2.1079 | 3.0746
0 | 1.17 | -1.0553 | 1.17 | 2.0649 | 3.1202
0 | 1.18 | -1.1445 | 1.18 | 2.0217 | 3.1662
0 | 1.19 | -1.2343 | 1.19 | 1.9781 | 3.2124
0 | 1.2 | -1.3247 | 1.2 | 1.9343 | 3.259
0 | 1.21 | -1.4157 | 1.21 | 1.8903 | 3.306
0 | 1.22 | -1.5073 | 1.22 | 1.846 | 3.3533
0 | 1.23 | -1.5995 | 1.23 | 1.8014 | 3.4009
0 | 1.24 | -1.6923 | 1.24 | 1.7565 | 3.4489
0 | 1.25 | -1.7857 | 1.25 | 1.7115 | 3.4972
0 | 1.26 | -1.8797 | 1.26 | 1.6661 | 3.5458
0 | 1.27 | -1.9742 | 1.27 | 1.6206 | 3.5948
0 | 1.28 | -2.0694 | 1.28 | 1.5747 | 3.6441
0 | 1.29 | -2.1651 | 1.29 | 1.5287 | 3.6938
0 | 1.3 | -2.2614 | 1.3 | 1.4824 | 3.7438
0 | 1.31 | -2.3583 | 1.31 | 1.4358 | 3.7941
0 | 1.32 | -2.4558 | 1.32 | 1.389 | 3.8448
0 | 1.33 | -2.5539 | 1.33 | 1.342 | 3.8959
0 | 1.34 | -2.6525 | 1.34 | 1.2947 | 3.9472
0 | 1.35 | -2.7517 | 1.35 | 1.2472 | 3.999
0 | 1.36 | -2.8515 | 1.36 | 1.1995 | 4.051
0 | 1.37 | -2.9519 | 1.37 | 1.1516 | 4.1034
0 | 1.38 | -3.0528 | 1.38 | 1.1034 | 4.1562
0 | 1.39 | -3.1543 | 1.39 | 1.055 | 4.2093
0 | 1.4 | -3.2563 | 1.4 | 1.0064 | 4.2627
0 | 1.41 | -3.359 | 1.41 | 0.95754 | 4.3165
0 | 1.42 | -3.4621 | 1.42 | 0.90848 | 4.3706
0 | 1.43 | -3.5659 | 1.43 | 0.85921 | 4.4251
0 | 1.44 | -3.6702 | 1.44 | 0.80973 | 4.4799
0 | 1.45 | -3.7751 | 1.45 | 0.76003 | 4.5351
0 | 1.46 | -3.8805 | 1.46 | 0.71012 | 4.5906
0 | 1.47 | -3.9864 | 1.47 | 0.66001 | 4.6465
0 | 1.48 | -4.093 | 1.48 | 0.60969 | 4.7027
0 | 1.49 | -4.2 | 1.49 | 0.55917 | 4.7592
0 | 1.5 | -4.3077 | 1.5 | 0.50845 | 4.8161
0 | 1.51 | -4.4158 | 1.51 | 0.45753 | 4.8733
0 | 1.52 | -4.5245 | 1.52 | 0.40641 | 4.9309
0 | 1.53 | -4.6338 | 1.53 | 0.3551 | 4.9889
0 | 1.54 | -4.7436 | 1.54 | 0.30359 | 5.0472
0 | 1.55 | -4.8539 | 1.55 | 0.25189 | 5.1058
0 | 1.56 | -4.9648 | 1.56 | 0.20001 | 5.1648
0 | 1.57 | -5.0762 | 1.57 | 0.14794 | 5.2241
0 | 1.58 | -5.1881 | 1.58 | 0.095679 | 5.2838
0 | 1.59 | -5.3006 | 1.59 | 0.04324 | 5.3439
0 | 1.6 | -5.4136 | 1.6 | -0.0093808 | 5.4042
0 | 1.61 | -5.5272 | 1.61 | -0.06218 | 5.465
0 | 1.62 | -5.6412 | 1.62 | -0.11516 | 5.5261
0 | 1.63 | -5.7558 | 1.63 | -0.16831 | 5.5875
0 | 1.64 | -5.8709 | 1.64 | -0.22163 | 5.6493
0 | 1.65 | -5.9866 | 1.65 | -0.27512 | 5.7115
0 | 1.66 | -6.1027 | 1.66 | -0.32878 | 5.7739
0 | 1.67 | -6.2194 | 1.67 | -0.38261 | 5.8368
0 | 1.68 | -6.3366 | 1.68 | -0.4366 | 5.9
0 | 1.69 | -6.4543 | 1.69 | -0.49075 | 5.9636
0 | 1.7 | -6.5725 | 1.7 | -0.54507 | 6.0275
0 | 1.71 | -6.6913 | 1.71 | -0.59954 | 6.0917
0 | 1.72 | -6.8105 | 1.72 | -0.65417 | 6.1563
0 | 1.73 | -6.9303 | 1.73 | -0.70895 | 6.2213
0 | 1.74 | -7.0505 | 1.74 | -0.76388 | 6.2866
0 | 1.75 | -7.1713 | 1.75 | -0.81897 | 6.3523
0 | 1.76 | -7.2925 | 1.76 | -0.8742 | 6.4183
0 | 1.77 | -7.4143 | 1.77 | -0.92958 | 6.4847
0 | 1.78 | -7.5366 | 1.78 | -0.9851 | 6.5515
0 | 1.79 | -7.6593 | 1.79 | -1.0408 | 6.6186
0 | 1.8 | -7.7826 | 1.8 | -1.0966 | 6.686
0 | 1.81 | -7.9063 | 1.81 | -1.1525 | 6.7538
0 | 1.82 | -8.0306 | 1.82 | -1.2086 | 6.822
0 | 1.83 | -8.1553 | 1.83 | -1.2648 | 6.8905
0 | 1.84 | -8.2806 | 1.84 | -1.3211 | 6.9594
0 | 1.85 | -8.4063 | 1.85 | -1.3776 | 7.0287
0 | 1.86 | -8.5325 | 1.86 | -1.4342 | 7.0983
0 | 1.87 | -8.6591 | 1.87 | -1.4909 | 7.1682
0 | 1.88 | -8.7863 | 1.88 | -1.5478 | 7.2385
0 | 1.89 | -8.914 | 1.89 | -1.6047 | 7.3092
0 | 1.9 | -9.0421 | 1.9 | -1.6618 | 7.3802
0 | 1.91 | -9.1707 | 1.91 | -1.719 | 7.4516
0 | 1.92 | -9.2997 | 1.92 | -1.7763 | 7.5234
0 | 1.93 | -9.4293 | 1.93 | -1.8338 | 7.5955
0 | 1.94 | -9.5593 | 1.94 | -1.8913 | 7.668
0 | 1.95 | -9.6898 | 1.95 | -1.949 | 7.7408
0 | 1.96 | -9.8208 | 1.96 | -2.0067 | 7.814
0 | 1.97 | -9.9522 | 1.97 | -2.0646 | 7.8876
0 | 1.98 | -10.0841 | 1.98 | -2.1226 | 7.9615
0 | 1.99 | -10.2164 | 1.99 | -2.1806 | 8.0358
0 | 2 | -10.3492 | 2 | -2.2388 | 8.1104
0 | 2.01 | -10.4825 | 2.01 | -2.2971 | 8.1854
0 | 2.02 | -10.6162 | 2.02 | -2.3554 | 8.2608
0 | 2.03 | -10.7504 | 2.03 | -2.4139 | 8.3365
0 | 2.04 | -10.8851 | 2.04 | -2.4724 | 8.4126
0 | 2.05 | -11.0201 | 2.05 | -2.531 | 8.4891
0 | 2.06 | -11.1557 | 2.06 | -2.5898 | 8.5659
0 | 2.07 | -11.2917 | 2.07 | -2.6486 | 8.6431
0 | 2.08 | -11.4281 | 2.08 | -2.7074 | 8.7207
0 | 2.09 | -11.565 | 2.09 | -2.7664 | 8.7986
0 | 2.1 | -11.7023 | 2.1 | -2.8254 | 8.8769
0 | 2.11 | -11.8401 | 2.11 | -2.8846 | 8.9555
0 | 2.12 | -11.9783 | 2.12 | -2.9438 | 9.0345
0 | 2.13 | -12.1169 | 2.13 | -3.003 | 9.1139
0 | 2.14 | -12.256 | 2.14 | -3.0623 | 9.1937
0 | 2.15 | -12.3955 | 2.15 | -3.1217 | 9.2738
0 | 2.16 | -12.5355 | 2.16 | -3.1812 | 9.3543
0 | 2.17 | -12.6759 | 2.17 | -3.2407 | 9.4351
0 | 2.18 | -12.8167 | 2.18 | -3.3003 | 9.5163
0 | 2.19 | -12.9579 | 2.19 | -3.36 | 9.5979
0 | 2.2 | -13.0996 | 2.2 | -3.4197 | 9.6799
0 | 2.21 | -13.2417 | 2.21 | -3.4795 | 9.7622
0 | 2.22 | -13.3842 | 2.22 | -3.5393 | 9.8449
0 | 2.23 | -13.5271 | 2.23 | -3.5992 | 9.9279
0 | 2.24 | -13.6704 | 2.24 | -3.6591 | 10.0114
0 | 2.25 | -13.8142 | 2.25 | -3.7191 | 10.0952
0 | 2.26 | -13.9584 | 2.26 | -3.7791 | 10.1793
0 | 2.27 | -14.103 | 2.27 | -3.8391 | 10.2639
0 | 2.28 | -14.248 | 2.28 | -3.8992 | 10.3488
0 | 2.29 | -14.3934 | 2.29 | -3.9594 | 10.4341
0 | 2.3 | -14.5393 | 2.3 | -4.0195 | 10.5197
0 | 2.31 | -14.6855 | 2.31 | -4.0798 | 10.6057
0 | 2.32 | -14.8321 | 2.32 | -4.14 | 10.6921
0 | 2.33 | -14.9792 | 2.33 | -4.2003 | 10.7789
0 | 2.34 | -15.1266 | 2.34 | -4.2606 | 10.866
0 | 2.35 | -15.2745 | 2.35 | -4.3209 | 10.9535
0 | 2.36 | -15.4227 | 2.36 | -4.3813 | 11.0414
0 | 2.37 | -15.5713 | 2.37 | -4.4416 | 11.1297
0 | 2.38 | -15.7204 | 2.38 | -4.5021 | 11.2183
0 | 2.39 | -15.8698 | 2.39 | -4.5625 | 11.3073
0 | 2.4 | -16.0196 | 2.4 | -4.6229 | 11.3967
0 | 2.41 | -16.1698 | 2.41 | -4.6834 | 11.4865
0 | 2.42 | -16.3204 | 2.42 | -4.7438 | 11.5766
0 | 2.43 | -16.4714 | 2.43 | -4.8043 | 11.6671
0 | 2.44 | -16.6228 | 2.44 | -4.8648 | 11.758
0 | 2.45 | -16.7745 | 2.45 | -4.9253 | 11.8492
0 | 2.46 | -16.9266 | 2.46 | -4.9858 | 11.9409
0 | 2.47 | -17.0791 | 2.47 | -5.0463 | 12.0329
0 | 2.48 | -17.232 | 2.48 | -5.1068 | 12.1253
0 | 2.49 | -17.3853 | 2.49 | -5.1673 | 12.218
0 | 2.5 | -17.5389 | 2.5 | -5.2278 | 12.3112
0 | 2.51 | -17.6929 | 2.51 | -5.2882 | 12.4047
0 | 2.52 | -17.8473 | 2.52 | -5.3487 | 12.4986
0 | 2.53 | -18.002 | 2.53 | -5.4092 | 12.5928
0 | 2.54 | -18.1571 | 2.54 | -5.4696 | 12.6875
0 | 2.55 | -18.3126 | 2.55 | -5.5301 | 12.7825
0 | 2.56 | -18.4684 | 2.56 | -5.5905 | 12.8779
0 | 2.57 | -18.6246 | 2.57 | -5.6509 | 12.9737
0 | 2.58 | -18.7812 | 2.58 | -5.7113 | 13.0699
0 | 2.59 | -18.9381 | 2.59 | -5.7717 | 13.1664
0 | 2.6 | -19.0954 | 2.6 | -5.832 | 13.2634
0 | 2.61 | -19.253 | 2.61 | -5.8923 | 13.3607
0 | 2.62 | -19.411 | 2.62 | -5.9526 | 13.4584
0 | 2.63 | -19.5693 | 2.63 | -6.0129 | 13.5564
0 | 2.64 | -19.728 | 2.64 | -6.0731 | 13.6549
0 | 2.65 | -19.887 | 2.65 | -6.1333 | 13.7537
0 | 2.66 | -20.0464 | 2.66 | -6.1935 | 13.8529
0 | 2.67 | -20.2061 | 2.67 | -6.2536 | 13.9525
0 | 2.68 | -20.3662 | 2.68 | -6.3137 | 14.0525
0 | 2.69 | -20.5266 | 2.69 | -6.3737 | 14.1529
0 | 2.7 | -20.6873 | 2.7 | -6.4337 | 14.2536
0 | 2.71 | -20.8484 | 2.71 | -6.4936 | 14.3547
0 | 2.72 | -21.0098 | 2.72 | -6.5535 | 14.4562
0 | 2.73 | -21.1715 | 2.73 | -6.6134 | 14.5581
0 | 2.74 | -21.3336 | 2.74 | -6.6732 | 14.6604
0 | 2.75 | -21.496 | 2.75 | -6.7329 | 14.7631
0 | 2.76 | -21.6587 | 2.76 | -6.7926 | 14.8661
0 | 2.77 | -21.8218 | 2.77 | -6.8522 | 14.9696
0 | 2.78 | -21.9852 | 2.78 | -6.9118 | 15.0734
0 | 2.79 | -22.1489 | 2.79 | -6.9713 | 15.1776
0 | 2.8 | -22.3129 | 2.8 | -7.0307 | 15.2822
0 | 2.81 | -22.4772 | 2.81 | -7.09 | 15.3872
0 | 2.82 | -22.6419 | 2.82 | -7.1493 | 15.4926
0 | 2.83 | -22.8069 | 2.83 | -7.2086 | 15.5983
0 | 2.84 | -22.9722 | 2.84 | -7.2677 | 15.7044
0 | 2.85 | -23.1378 | 2.85 | -7.3268 | 15.811
0 | 2.86 | -23.3037 | 2.86 | -7.3858 | 15.9179
0 | 2.87 | -23.4699 | 2.87 | -7.4447 | 16.0252
0 | 2.88 | -23.6364 | 2.88 | -7.5035 | 16.1329
0 | 2.89 | -23.8033 | 2.89 | -7.5623 | 16.241
0 | 2.9 | -23.9704 | 2.9 | -7.621 | 16.3495
0 | 2.91 | -24.1379 | 2.91 | -7.6796 | 16.4583
0 | 2.92 | -24.3056 | 2.92 | -7.738 | 16.5676
0 | 2.93 | -24.4736 | 2.93 | -7.7964 | 16.6772
0 | 2.94 | -24.642 | 2.94 | -7.8547 | 16.7872
0 | 2.95 | -24.8106 | 2.95 | -7.913 | 16.8977
0 | 2.96 | -24.9795 | 2.96 | -7.9711 | 17.0085
0 | 2.97 | -25.1488 | 2.97 | -8.0291 | 17.1197
0 | 2.98 | -25.3183 | 2.98 | -8.087 | 17.2313
0 | 2.99 | -25.4881 | 2.99 | -8.1448 | 17.3433
0 | 3 | -25.6581 | 3 | -8.2025 | 17.4556
0 | 3.01 | -25.8285 | 3.01 | -8.2601 | 17.5684
0 | 3.02 | -25.9992 | 3.02 | -8.3176 | 17.6816
0 | 3.03 | -26.1701 | 3.03 | -8.3749 | 17.7951
0 | 3.04 | -26.3413 | 3.04 | -8.4322 | 17.9091
0 | 3.05 | -26.5128 | 3.05 | -8.4893 | 18.0234
0 | 3.06 | -26.6845 | 3.06 | -8.5464 | 18.1382
0 | 3.07 | -26.8566 | 3.07 | -8.6033 | 18.2533
0 | 3.08 | -27.0289 | 3.08 | -8.66 | 18.3688
0 | 3.09 | -27.2015 | 3.09 | -8.7167 | 18.4848
0 | 3.1 | -27.3743 | 3.1 | -8.7732 | 18.6011
0 | 3.11 | -27.5474 | 3.11 | -8.8296 | 18.7178
0 | 3.12 | -27.7208 | 3.12 | -8.8859 | 18.8349
0 | 3.13 | -27.8944 | 3.13 | -8.942 | 18.9524
0 | 3.14 | -28.0683 | 3.14 | -8.998 | 19.0703
0 | 3.15 | -28.2425 | 3.15 | -9.0539 | 19.1886
0 | 3.16 | -28.4169 | 3.16 | -9.1096 | 19.3073
0 | 3.17 | -28.5916 | 3.17 | -9.1652 | 19.4264
0 | 3.18 | -28.7665 | 3.18 | -9.2207 | 19.5459
0 | 3.19 | -28.9417 | 3.19 | -9.276 | 19.6658
0 | 3.2 | -29.1172 | 3.2 | -9.3311 | 19.7861
0 | 3.21 | -29.2928 | 3.21 | -9.3861 | 19.9067
0 | 3.22 | -29.4688 | 3.22 | -9.441 | 20.0278
0 | 3.23 | -29.645 | 3.23 | -9.4957 | 20.1493
0 | 3.24 | -29.8214 | 3.24 | -9.5502 | 20.2712
0 | 3.25 | -29.9981 | 3.25 | -9.6046 | 20.3935
0 | 3.26 | -30.175 | 3.26 | -9.6588 | 20.5162
0 | 3.27 | -30.3521 | 3.27 | -9.7129 | 20.6392
0 | 3.28 | -30.5295 | 3.28 | -9.7668 | 20.7627
0 | 3.29 | -30.7071 | 3.29 | -9.8205 | 20.8866
0 | 3.3 | -30.885 | 3.3 | -9.8741 | 21.0109
0 | 3.31 | -31.063 | 3.31 | -9.9275 | 21.1356
0 | 3.32 | -31.2414 | 3.32 | -9.9807 | 21.2607
0 | 3.33 | -31.4199 | 3.33 | -10.0338 | 21.3861
0 | 3.34 | -31.5987 | 3.34 | -10.0866 | 21.512
0 | 3.35 | -31.7777 | 3.35 | -10.1393 | 21.6383
0 | 3.36 | -31.9569 | 3.36 | -10.1919 | 21.765
0 | 3.37 | -32.1363 | 3.37 | -10.2442 | 21.8921
0 | 3.38 | -32.316 | 3.38 | -10.2964 | 22.0196
0 | 3.39 | -32.4959 | 3.39 | -10.3483 | 22.1475
0 | 3.4 | -32.676 | 3.4 | -10.4001 | 22.2758
0 | 3.41 | -32.8563 | 3.41 | -10.4517 | 22.4046
0 | 3.42 | -33.0368 | 3.42 | -10.5031 | 22.5337
0 | 3.43 | -33.2175 | 3.43 | -10.5543 | 22.6632
0 | 3.44 | -33.3985 | 3.44 | -10.6053 | 22.7931
0 | 3.45 | -33.5796 | 3.45 | -10.6561 | 22.9235
0 | 3.46 | -33.761 | 3.46 | -10.7067 | 23.0542
0 | 3.47 | -33.9425 | 3.47 | -10.7572 | 23.1854
0 | 3.48 | -34.1243 | 3.48 | -10.8074 | 23.3169
0 | 3.49 | -34.3062 | 3.49 | -10.8574 | 23.4489
0 | 3.5 | -34.4884 | 3.5 | -10.9071 | 23.5812
0 | 3.51 | -34.6708 | 3.51 | -10.9567 | 23.714
0 | 3.52 | -34.8533 | 3.52 | -11.0061 | 23.8472
0 | 3.53 | -35.0361 | 3.53 | -11.0553 | 23.9808
0 | 3.54 | -35.219 | 3.54 | -11.1042 | 24.1148
0 | 3.55 | -35.4021 | 3.55 | -11.1529 | 24.2492
0 | 3.56 | -35.5854 | 3.56 | -11.2014 | 24.384
0 | 3.57 | -35.7689 | 3.57 | -11.2497 | 24.5193
0 | 3.58 | -35.9526 | 3.58 | -11.2977 | 24.6549
0 | 3.59 | -36.1365 | 3.59 | -11.3456 | 24.7909
0 | 3.6 | -36.3205 | 3.6 | -11.3931 | 24.9274
0 | 3.61 | -36.5048 | 3.61 | -11.4405 | 25.0643
0 | 3.62 | -36.6892 | 3.62 | -11.4876 | 25.2015
0 | 3.63 | -36.8738 | 3.63 | -11.5345 | 25.3392
0 | 3.64 | -37.0585 | 3.64 | -11.5812 | 25.4773
0 | 3.65 | -37.2435 | 3.65 | -11.6276 | 25.6158
0 | 3.66 | -37.4286 | 3.66 | -11.6738 | 25.7548
0 | 3.67 | -37.6138 | 3.67 | -11.7197 | 25.8941
0 | 3.68 | -37.7993 | 3.68 | -11.7654 | 26.0338
0 | 3.69 | -37.9849 | 3.69 | -11.8109 | 26.174
0 | 3.7 | -38.1706 | 3.7 | -11.8561 | 26.3146
0 | 3.71 | -38.3566 | 3.71 | -11.901 | 26.4556
0 | 3.72 | -38.5427 | 3.72 | -11.9457 | 26.597
0 | 3.73 | -38.7289 | 3.73 | -11.9901 | 26.7388
0 | 3.74 | -38.9153 | 3.74 | -12.0343 | 26.881
0 | 3.75 | -39.1019 | 3.75 | -12.0782 | 27.0237
0 | 3.76 | -39.2886 | 3.76 | -12.1219 | 27.1667
0 | 3.77 | -39.4754 | 3.77 | -12.1653 | 27.3102
0 | 3.78 | -39.6625 | 3.78 | -12.2084 | 27.4541
0 | 3.79 | -39.8496 | 3.79 | -12.2512 | 27.5984
0 | 3.8 | -40.0369 | 3.8 | -12.2938 | 27.7431
0 | 3.81 | -40.2244 | 3.81 | -12.3362 | 27.8882
0 | 3.82 | -40.412 | 3.82 | -12.3782 | 28.0338
0 | 3.83 | -40.5997 | 3.83 | -12.42 | 28.1798
0 | 3.84 | -40.7876 | 3.84 | -12.4615 | 28.3261
0 | 3.85 | -40.9756 | 3.85 | -12.5027 | 28.473
0 | 3.86 | -41.1638 | 3.86 | -12.5436 | 28.6202
0 | 3.87 | -41.352 | 3.87 | -12.5842 | 28.7678
0 | 3.88 | -41.5405 | 3.88 | -12.6246 | 28.9159
0 | 3.89 | -41.729 | 3.89 | -12.6647 | 29.0644
0 | 3.9 | -41.9177 | 3.9 | -12.7044 | 29.2133
0 | 3.91 | -42.1065 | 3.91 | -12.7439 | 29.3626
0 | 3.92 | -42.2954 | 3.92 | -12.7831 | 29.5123
0 | 3.93 | -42.4845 | 3.93 | -12.822 | 29.6625
0 | 3.94 | -42.6736 | 3.94 | -12.8606 | 29.813
0 | 3.95 | -42.8629 | 3.95 | -12.8989 | 29.964
0 | 3.96 | -43.0523 | 3.96 | -12.9369 | 30.1155
0 | 3.97 | -43.2419 | 3.97 | -12.9746 | 30.2673
0 | 3.98 | -43.4315 | 3.98 | -13.012 | 30.4196
0 | 3.99 | -43.6213 | 3.99 | -13.049 | 30.5722
0 | 4 | -43.8111 | 4 | -13.0858 | 30.7253
0 | 4.01 | -44.0011 | 4.01 | -13.1223 | 30.8789
0 | 4.02 | -44.1912 | 4.02 | -13.1584 | 31.0328
0 | 4.03 | -44.3814 | 4.03 | -13.1942 | 31.1872
0 | 4.04 | -44.5717 | 4.04 | -13.2297 | 31.342
0 | 4.05 | -44.7621 | 4.05 | -13.2649 | 31.4972
0 | 4.06 | -44.9526 | 4.06 | -13.2997 | 31.6529
0 | 4.07 | -45.1432 | 4.07 | -13.3343 | 31.8089
0 | 4.08 | -45.3339 | 4.08 | -13.3685 | 31.9654
0 | 4.09 | -45.5247 | 4.09 | -13.4023 | 32.1223
0 | 4.1 | -45.7156 | 4.1 | -13.4359 | 32.2797
0 | 4.11 | -45.9065 | 4.11 | -13.4691 | 32.4374
0 | 4.12 | -46.0976 | 4.12 | -13.502 | 32.5956
0 | 4.13 | -46.2888 | 4.13 | -13.5345 | 32.7542
0 | 4.14 | -46.48 | 4.14 | -13.5667 | 32.9133
0 | 4.15 | -46.6713 | 4.15 | -13.5986 | 33.0728
0 | 4.16 | -46.8627 | 4.16 | -13.6301 | 33.2327
0 | 4.17 | -47.0542 | 4.17 | -13.6612 | 33.393
0 | 4.18 | -47.2458 | 4.18 | -13.6921 | 33.5537
0 | 4.19 | -47.4375 | 4.19 | -13.7225 | 33.7149
0 | 4.2 | -47.6292 | 4.2 | -13.7527 | 33.8765
0 | 4.21 | -47.821 | 4.21 | -13.7824 | 34.0386
0 | 4.22 | -48.0129 | 4.22 | -13.8118 | 34.201
0 | 4.23 | -48.2048 | 4.23 | -13.8409 | 34.3639
0 | 4.24 | -48.3968 | 4.24 | -13.8696 | 34.5272
0 | 4.25 | -48.5889 | 4.25 | -13.8979 | 34.691
0 | 4.26 | -48.7811 | 4.26 | -13.9259 | 34.8552
0 | 4.27 | -48.9733 | 4.27 | -13.9535 | 35.0198
0 | 4.28 | -49.1655 | 4.28 | -13.9807 | 35.1848
0 | 4.29 | -49.3579 | 4.29 | -14.0076 | 35.3503
0 | 4.3 | -49.5503 | 4.3 | -14.0341 | 35.5162
0 | 4.31 | -49.7427 | 4.31 | -14.0602 | 35.6826
0 | 4.32 | -49.9352 | 4.32 | -14.0859 | 35.8493
0 | 4.33 | -50.1278 | 4.33 | -14.1113 | 36.0165
0 | 4.34 | -50.3204 | 4.34 | -14.1363 | 36.1841
0 | 4.35 | -50.5131 | 4.35 | -14.1609 | 36.3522
0 | 4.36 | -50.7058 | 4.36 | -14.1851 | 36.5207
0 | 4.37 | -50.8985 | 4.37 | -14.2089 | 36.6896
0 | 4.38 | -51.0913 | 4.38 | -14.2323 | 36.859
0 | 4.39 | -51.2842 | 4.39 | -14.2554 | 37.0288
0 | 4.4 | -51.4771 | 4.4 | -14.278 | 37.199
0 | 4.41 | -51.67 | 4.41 | -14.3003 | 37.3697
0 | 4.42 | -51.863 | 4.42 | -14.3222 | 37.5408
0 | 4.43 | -52.056 | 4.43 | -14.3436 | 37.7123
0 | 4.44 | -52.249 | 4.44 | -14.3647 | 37.8843
0 | 4.45 | -52.4421 | 4.45 | -14.3854 | 38.0567
0 | 4.46 | -52.6352 | 4.46 | -14.4056 | 38.2296
0 | 4.47 | -52.8283 | 4.47 | -14.4255 | 38.4028
0 | 4.48 | -53.0214 | 4.48 | -14.4449 | 38.5765
0 | 4.49 | -53.2146 | 4.49 | -14.4639 | 38.7507
0 | 4.5 | -53.4078 | 4.5 | -14.4825 | 38.9253
0 | 4.51 | -53.6011 | 4.51 | -14.5008 | 39.1003
0 | 4.52 | -53.7943 | 4.52 | -14.5185 | 39.2758
0 | 4.53 | -53.9876 | 4.53 | -14.5359 | 39.4517
0 | 4.54 | -54.1809 | 4.54 | -14.5528 | 39.628
0 | 4.55 | -54.3742 | 4.55 | -14.5694 | 39.8048
0 | 4.56 | -54.5675 | 4.56 | -14.5855 | 39.982
0 | 4.57 | -54.7608 | 4.57 | -14.6011 | 40.1597
0 | 4.58 | -54.9541 | 4.58 | -14.6164 | 40.3378
0 | 4.59 | -55.1475 | 4.59 | -14.6312 | 40.5163
0 | 4.6 | -55.3408 | 4.6 | -14.6456 | 40.6953
0 | 4.61 | -55.5342 | 4.61 | -14.6595 | 40.8747
0 | 4.62 | -55.7275 | 4.62 | -14.673 | 41.0545
0 | 4.63 | -55.9209 | 4.63 | -14.6861 | 41.2348
0 | 4.64 | -56.1142 | 4.64 | -14.6987 | 41.4156
0 | 4.65 | -56.3076 | 4.65 | -14.7108 | 41.5967
0 | 4.66 | -56.5009 | 4.66 | -14.7226 | 41.7784
0 | 4.67 | -56.6943 | 4.67 | -14.7339 | 41.9604
0 | 4.68 | -56.8876 | 4.68 | -14.7447 | 42.1429
0 | 4.69 | -57.0809 | 4.69 | -14.7551 | 42.3259
0 | 4.7 | -57.2743 | 4.7 | -14.765 | 42.5093
0 | 4.71 | -57.4676 | 4.71 | -14.7745 | 42.6931
0 | 4.72 | -57.6609 | 4.72 | -14.7835 | 42.8774
0 | 4.73 | -57.8541 | 4.73 | -14.792 | 43.0621
0 | 4.74 | -58.0474 | 4.74 | -14.8001 | 43.2473
0 | 4.75 | -58.2406 | 4.75 | -14.8077 | 43.4329
0 | 4.76 | -58.4338 | 4.76 | -14.8149 | 43.6189
0 | 4.77 | -58.627 | 4.77 | -14.8216 | 43.8054
0 | 4.78 | -58.8202 | 4.78 | -14.8278 | 43.9924
0 | 4.79 | -59.0133 | 4.79 | -14.8336 | 44.1798
0 | 4.8 | -59.2064 | 4.8 | -14.8388 | 44.3676
0 | 4.81 | -59.3995 | 4.81 | -14.8436 | 44.5559
0 | 4.82 | -59.5926 | 4.82 | -14.8479 | 44.7446
0 | 4.83 | -59.7856 | 4.83 | -14.8518 | 44.9338
0 | 4.84 | -59.9785 | 4.84 | -14.8551 | 45.1234
0 | 4.85 | -60.1715 | 4.85 | -14.858 | 45.3135
0 | 4.86 | -60.3644 | 4.86 | -14.8604 | 45.504
0 | 4.87 | -60.5573 | 4.87 | -14.8623 | 45.695
0 | 4.88 | -60.7501 | 4.88 | -14.8637 | 45.8864
0 | 4.89 | -60.9428 | 4.89 | -14.8646 | 46.0782
0 | 4.9 | -61.1356 | 4.9 | -14.865 | 46.2706
0 | 4.91 | -61.3283 | 4.91 | -14.8649 | 46.4633
0 | 4.92 | -61.5209 | 4.92 | -14.8644 | 46.6565
0 | 4.93 | -61.7135 | 4.93 | -14.8633 | 46.8502
0 | 4.94 | -61.906 | 4.94 | -14.8617 | 47.0443
0 | 4.95 | -62.0985 | 4.95 | -14.8596 | 47.2389
0 | 4.96 | -62.2909 | 4.96 | -14.857 | 47.4339
0 | 4.97 | -62.4832 | 4.97 | -14.8539 | 47.6293
0 | 4.98 | -62.6755 | 4.98 | -14.8503 | 47.8253
0 | 4.99 | -62.8678 | 4.99 | -14.8461 | 48.0216
0 | 5 | -63.0599 | 5 | -14.8415 | 48.2184
0 | 5.01 | -63.252 | 5.01 | -14.8363 | 48.4157
0 | 5.02 | -63.4441 | 5.02 | -14.8307 | 48.6134
0 | 5.03 | -63.6361 | 5.03 | -14.8244 | 48.8116
0 | 5.04 | -63.828 | 5.04 | -14.8177 | 49.0102
0 | 5.05 | -64.0198 | 5.05 | -14.8105 | 49.2093
0 | 5.06 | -64.2115 | 5.06 | -14.8027 | 49.4089
0 | 5.07 | -64.4032 | 5.07 | -14.7944 | 49.6088
0 | 5.08 | -64.5948 | 5.08 | -14.7855 | 49.8093
0 | 5.09 | -64.7863 | 5.09 | -14.7761 | 50.0102
0 | 5.1 | -64.9778 | 5.1 | -14.7662 | 50.2115
0 | 5.11 | -65.1691 | 5.11 | -14.7558 | 50.4133
0 | 5.12 | -65.3604 | 5.12 | -14.7448 | 50.6156
0 | 5.13 | -65.5516 | 5.13 | -14.7333 | 50.8183
0 | 5.14 | -65.7427 | 5.14 | -14.7212 | 51.0215
0 | 5.15 | -65.9337 | 5.15 | -14.7086 | 51.2251
0 | 5.16 | -66.1246 | 5.16 | -14.6954 | 51.4292
0 | 5.17 | -66.3154 | 5.17 | -14.6817 | 51.6338
0 | 5.18 | -66.5062 | 5.18 | -14.6674 | 51.8388
0 | 5.19 | -66.6968 | 5.19 | -14.6526 | 52.0442
0 | 5.2 | -66.8873 | 5.2 | -14.6372 | 52.2502
0 | 5.21 | -67.0778 | 5.21 | -14.6212 | 52.4565
0 | 5.22 | -67.2681 | 5.22 | -14.6047 | 52.6634
0 | 5.23 | -67.4583 | 5.23 | -14.5877 | 52.8707
0 | 5.24 | -67.6485 | 5.24 | -14.57 | 53.0784
0 | 5.25 | -67.8385 | 5.25 | -14.5518 | 53.2866
0 | 5.26 | -68.0284 | 5.26 | -14.5331 | 53.4953
0 | 5.27 | -68.2182 | 5.27 | -14.5137 | 53.7044
0 | 5.28 | -68.4079 | 5.28 | -14.4938 | 53.914
0 | 5.29 | -68.5974 | 5.29 | -14.4733 | 54.1241
0 | 5.3 | -68.7869 | 5.3 | -14.4523 | 54.3346
0 | 5.31 | -68.9762 | 5.31 | -14.4306 | 54.5456
0 | 5.32 | -69.1654 | 5.32 | -14.4084 | 54.757
0 | 5.33 | -69.3545 | 5.33 | -14.3856 | 54.9689
0 | 5.34 | -69.5435 | 5.34 | -14.3622 | 55.1813
0 | 5.35 | -69.7324 | 5.35 | -14.3382 | 55.3941
0 | 5.36 | -69.9211 | 5.36 | -14.3137 | 55.6074
0 | 5.37 | -70.1097 | 5.37 | -14.2885 | 55.8211
0 | 5.38 | -70.2981 | 5.38 | -14.2628 | 56.0354
0 | 5.39 | -70.4865 | 5.39 | -14.2364 | 56.25
0 | 5.4 | -70.6747 | 5.4 | -14.2095 | 56.4652
0 | 5.41 | -70.8627 | 5.41 | -14.1819 | 56.6808
0 | 5.42 | -71.0506 | 5.42 | -14.1538 | 56.8969
0 | 5.43 | -71.2384 | 5.43 | -14.125 | 57.1134
0 | 5.44 | -71.4261 | 5.44 | -14.0957 | 57.3304
0 | 5.45 | -71.6136 | 5.45 | -14.0657 | 57.5479
0 | 5.46 | -71.8009 | 5.46 | -14.0352 | 57.7658
0 | 5.47 | -71.9882 | 5.47 | -14.004 | 57.9842
0 | 5.48 | -72.1752 | 5.48 | -13.9722 | 58.203
0 | 5.49 | -72.3621 | 5.49 | -13.9398 | 58.4224
0 | 5.5 | -72.5489 | 5.5 | -13.9068 | 58.6422
0 | 5.51 | -72.7355 | 5.51 | -13.8731 | 58.8624
0 | 5.52 | -72.922 | 5.52 | -13.8388 | 59.0832
0 | 5.53 | -73.1083 | 5.53 | -13.8039 | 59.3044
0 | 5.54 | -73.2944 | 5.54 | -13.7684 | 59.526
0 | 5.55 | -73.4804 | 5.55 | -13.7323 | 59.7482
0 | 5.56 | -73.6663 | 5.56 | -13.6955 | 59.9708
0 | 5.57 | -73.8519 | 5.57 | -13.6581 | 60.1938
0 | 5.58 | -74.0374 | 5.58 | -13.62 | 60.4174
0 | 5.59 | -74.2227 | 5.59 | -13.5814 | 60.6414
0 | 5.6 | -74.4079 | 5.6 | -13.542 | 60.8659
0 | 5.61 | -74.5929 | 5.61 | -13.5021 | 61.0908
0 | 5.62 | -74.7777 | 5.62 | -13.4615 | 61.3162
0 | 5.63 | -74.9624 | 5.63 | -13.4202 | 61.5421
0 | 5.64 | -75.1468 | 5.64 | -13.3783 | 61.7685
0 | 5.65 | -75.3311 | 5.65 | -13.3358 | 61.9953
0 | 5.66 | -75.5152 | 5.66 | -13.2926 | 62.2226
0 | 5.67 | -75.6992 | 5.67 | -13.2488 | 62.4504
0 | 5.68 | -75.8829 | 5.68 | -13.2043 | 62.6787
0 | 5.69 | -76.0665 | 5.69 | -13.1591 | 62.9074
0 | 5.7 | -76.2499 | 5.7 | -13.1133 | 63.1366
0 | 5.71 | -76.4331 | 5.71 | -13.0668 | 63.3663
0 | 5.72 | -76.6161 | 5.72 | -13.0197 | 63.5964
0 | 5.73 | -76.7989 | 5.73 | -12.9719 | 63.827
0 | 5.74 | -76.9815 | 5.74 | -12.9234 | 64.0581
0 | 5.75 | -77.1639 | 5.75 | -12.8743 | 64.2897
0 | 5.76 | -77.3462 | 5.76 | -12.8245 | 64.5217
0 | 5.77 | -77.5282 | 5.77 | -12.774 | 64.7542
0 | 5.78 | -77.71 | 5.78 | -12.7228 | 64.9872
0 | 5.79 | -77.8917 | 5.79 | -12.671 | 65.2207
0 | 5.8 | -78.0731 | 5.8 | -12.6185 | 65.4546
0 | 5.81 | -78.2543 | 5.81 | -12.5653 | 65.689
0 | 5.82 | -78.4353 | 5.82 | -12.5114 | 65.9239
0 | 5.83 | -78.6161 | 5.83 | -12.4568 | 66.1593
0 | 5.84 | -78.7967 | 5.84 | -12.4016 | 66.3951
0 | 5.85 | -78.9771 | 5.85 | -12.3456 | 66.6315
0 | 5.86 | -79.1573 | 5.86 | -12.289 | 66.8683
0 | 5.87 | -79.3372 | 5.87 | -12.2317 | 67.1056
0 | 5.88 | -79.517 | 5.88 | -12.1737 | 67.3433
0 | 5.89 | -79.6965 | 5.89 | -12.1149 | 67.5816
0 | 5.9 | -79.8758 | 5.9 | -12.0555 | 67.8203
0 | 5.91 | -80.0549 | 5.91 | -11.9954 | 68.0595
0 | 5.92 | -80.2337 | 5.92 | -11.9346 | 68.2991
0 | 5.93 | -80.4123 | 5.93 | -11.873 | 68.5393
0 | 5.94 | -80.5907 | 5.94 | -11.8108 | 68.7799
0 | 5.95 | -80.7689 | 5.95 | -11.7479 | 69.021
0 | 5.96 | -80.9468 | 5.96 | -11.6842 | 69.2626
0 | 5.97 | -81.1245 | 5.97 | -11.6198 | 69.5047
0 | 5.98 | -81.302 | 5.98 | -11.5547 | 69.7473
0 | 5.99 | -81.4792 | 5.99 | -11.4889 | 69.9903
0 | 6 | -81.6562 | 6 | -11.4224 | 70.2338
0 | 6.01 | -81.833 | 6.01 | -11.3551 | 70.4778
0 | 6.02 | -82.0095 | 6.02 | -11.2872 | 70.7223
0 | 6.03 | -82.1858 | 6.03 | -11.2185 | 70.9673
0 | 6.04 | -82.3618 | 6.04 | -11.149 | 71.2127
0 | 6.05 | -82.5376 | 6.05 | -11.0789 | 71.4587
0 | 6.06 | -82.7131 | 6.06 | -11.008 | 71.7051
0 | 6.07 | -82.8884 | 6.07 | -10.9364 | 71.952
0 | 6.08 | -83.0634 | 6.08 | -10.864 | 72.1994
0 | 6.09 | -83.2381 | 6.09 | -10.7909 | 72.4472
0 | 6.1 | -83.4127 | 6.1 | -10.7171 | 72.6956
0 | 6.11 | -83.5869 | 6.11 | -10.6425 | 72.9444
0 | 6.12 | -83.7609 | 6.12 | -10.5671 | 73.1938
0 | 6.13 | -83.9346 | 6.13 | -10.4911 | 73.4436
0 | 6.14 | -84.1081 | 6.14 | -10.4142 | 73.6939
0 | 6.15 | -84.2813 | 6.15 | -10.3367 | 73.9447
0 | 6.16 | -84.4543 | 6.16 | -10.2583 | 74.1959
0 | 6.17 | -84.6269 | 6.17 | -10.1793 | 74.4477
0 | 6.18 | -84.7993 | 6.18 | -10.0994 | 74.6999
0 | 6.19 | -84.9715 | 6.19 | -10.0188 | 74.9527
0 | 6.2 | -85.1433 | 6.2 | -9.9375 | 75.2059
0 | 6.21 | -85.3149 | 6.21 | -9.8553 | 75.4596
0 | 6.22 | -85.4862 | 6.22 | -9.7724 | 75.7138
0 | 6.23 | -85.6573 | 6.23 | -9.6888 | 75.9685
0 | 6.24 | -85.828 | 6.24 | -9.6044 | 76.2236
0 | 6.25 | -85.9985 | 6.25 | -9.5192 | 76.4793
0 | 6.26 | -86.1687 | 6.26 | -9.4332 | 76.7355
0 | 6.27 | -86.3385 | 6.27 | -9.3464 | 76.9921
0 | 6.28 | -86.5082 | 6.28 | -9.2589 | 77.2492
0 | 6.29 | -86.6775 | 6.29 | -9.1706 | 77.5069
0 | 6.3 | -86.8465 | 6.3 | -9.0815 | 77.765
0 | 6.31 | -87.0152 | 6.31 | -8.9917 | 78.0236
0 | 6.32 | -87.1837 | 6.32 | -8.901 | 78.2827
0 | 6.33 | -87.3518 | 6.33 | -8.8096 | 78.5423
0 | 6.34 | -87.5197 | 6.34 | -8.7173 | 78.8024
0 | 6.35 | -87.6872 | 6.35 | -8.6243 | 79.0629
0 | 6.36 | -87.8545 | 6.36 | -8.5305 | 79.324
0 | 6.37 | -88.0214 | 6.37 | -8.4359 | 79.5855
0 | 6.38 | -88.1881 | 6.38 | -8.3405 | 79.8476
0 | 6.39 | -88.3544 | 6.39 | -8.2443 | 80.1101
0 | 6.4 | -88.5204 | 6.4 | -8.1472 | 80.3732
0 | 6.41 | -88.6861 | 6.41 | -8.0494 | 80.6367
0 | 6.42 | -88.8515 | 6.42 | -7.9508 | 80.9007
0 | 6.43 | -89.0166 | 6.43 | -7.8514 | 81.1653
0 | 6.44 | -89.1814 | 6.44 | -7.7511 | 81.4303
0 | 6.45 | -89.3459 | 6.45 | -7.6501 | 81.6958
0 | 6.46 | -89.51 | 6.46 | -7.5482 | 81.9618
0 | 6.47 | -89.6738 | 6.47 | -7.4455 | 82.2283
0 | 6.48 | -89.8373 | 6.48 | -7.342 | 82.4953
0 | 6.49 | -90.0005 | 6.49 | -7.2377 | 82.7628
0 | 6.5 | -90.1633 | 6.5 | -7.1326 | 83.0308

## Notes
Copywrite MartinM210 user at overclock.net.
Please don't distribute this spreadsheet by modifying and calling it your own. I have no intention to make money from this, so you shouldn't either. I just ask that I get a little credit for my work, I've put a lot of time into this.
Why?
I created this spreadsheet to first help myself and other water coolers how different components affect flow rate. It's a tool to help folks plan out system setups and pump needs.
Disclaimer:
This is for estimation purposes, and I hold no responsibility for the results produced. Use at your own risk! If you feel a curve or some data is in error, please let me know, I'd like to correct it.
Many of the curves calculated for components came from various sources with a variety of testing equipment, so it is expected that some variability will be present.
Special Thanks to:
Alex at Petra's Tech Shop, they are my favorite shop because not only do they carry the best stuff at great prices, they are involved in this community as well.
Alex even provided to me several of the pump curve formulas for all the DDC series pumps and db-1, hope the product links are a good return thanks!
All the guys at overclock.net, my home when it comes to watercooling, where it all started for me…learned a tremedous amount here.
The guys at xtremesystems.org, my second watercooling home, good folks and great discussions, learned a lot here.
To Do's / Bugs
Fuzion curve giving bad results above 3GPM. Test results gave relatively linear results at the tail end, so a 4th order poly was used. Unfortunately this give erronious results past 3 GPM
Tubing curves are just placeholders, need testing, see testing below…more restrictive than current curves.
Need more components..
V1.0 Real World Test Comparison
Test |  | Estimator | Actual | Error | Error | Notes
|  | GPM | GPM | GPM | Percent
M - MCW60 +16" tubing |  | 3.26 | 3.36 | -0.1 | 2.976%
L - D-tek fuzion + 16" Tubing |  | 2.41 | 2.39 | 0.02 | -0.8368%
Test D - GPU Loop - MCW60 + MCR320 + MCP655 + 54" 7/16"tubing |  | 2.48 | 2.76 | -0.28 | 10.14% | Not sure why estimator is low here?
Test E - GPU Loop Series Pumps - MCW60 + MCR320 + MCP655 MCP655B + 68" 7/16"tubing |  | 3.31 | 3.28 | 0.03 | -0.9146%
Test C - GPU - MCW60 + MCP655 + 22" 7/16 Tubing |  | 3.3 | 3.53 | -0.23 | 6.516%
Test N - MCR320 + 16" Tubing |  | 3.65 | 3.45 | 0.2 | -5.797%
Test O - 10' 1/2" ID Tubing |  | 4.57 | 3.66 | 0.91 | -24.86% | <--- Tubing is much more restrictive than theoretical. Really need to test for new curves.
Test P - 10' 7/16" ID Tubing |  | 3.81 | 3.34 | 0.47 | -14.07% | <--- Tubing is much more restrictive than theoretical. Really need to test for new curves.
[5 empty] | 8.24% | Average Error of real world tests